## O-rings
	nominal size			actual size					McMaster		pkg
AS568B-	ID	OD	Width	ID		Width		Length	PN	price	qty	for
005	3/32	7/32	1/16	0.101	± 0.005	0.070	± 0.003	0.537	9464K11	5.22	100
006	1/8	1/4	1/16	0.114	± 0.005	0.070	± 0.003	0.578	9464K11	5.22	100	1/8 UT
009	7/32	11/32	1/16	0.208	± 0.005	0.070	± 0.003	0.873	9464K14	6.03	100	4T plug valve face
010	1/4	3/8	1/16	0.239	± 0.005	0.070	± 0.003	0.971	9464K15	6.06	100	1/4 UT, 1/4 ST ORS
012	3/8	1/2	1/16	0.364	± 0.005	0.070	± 0.003	1.363	9464K17	7.71	100	4T plug valve radial, 3/8 UT, 3/8 ST ORS
014	1/2	3/8	1/16	0.489	± 0.005	0.070	± 0.003	1.756	9464K19	9.46	100	1/2 UT
020	7/8	1	1/16	0.864	± 0.009	0.070	± 0.003	2.934				7/8 x 1/2 ORS adapter
109	5/16	1/2	3/32	0.299	± 0.005	0.103	± 0.003	1.263	9464K44	4.90	50	6T plug valve face
112	1/2	11/16	3/32	0.487	± 0.005	0.103	± 0.003	1.854	9464K25	6.23	50	6T plug valve radial, 1/2 ST ORS
114	5/8	13/16	3/32	0.612	± 0.009	0.103	± 0.003	2.246	9464K27	6.84	50
120	1	1 3/32	3/32	0.987	± 0.010	0.103	± 0.003	3.424	9464K84	10.73	50	1" UT
135	1 15/16	2 1/8	3/32	1.925	± 0.017	0.103	± 0.003	6.371	9464K135	5.59	10	bakeout tube end protector
210	3/4	1	1/8	0.734	± 0.010	0.139	± 0.004	2.743				7/8 compression fitting O-ring seal
314	3/4	1 1/8	3/16	0.725	± 0.010	0.210	± 0.005	2.937	9464K587	6.22	10	KF, QF, NW16
320	1 1/8	1 1/2	3/16	1.100	± 0.012	0.210	± 0.005	4.115	9464K155	6.95	10	KF, QF, NW25
326				1.600	± 0.015	0.210	± 0.005	5.686				KF, QF, NW40
330				2.100	± 0.018	0.210	± 0.005	7.257				KF, QF, NW50
334				2.600	± 0.020	0.210	± 0.005	8.828				KF, QF, NW60
336	2 7/8		3/16	2.850	± 0.020	0.210	± 0.005	9.613	9464K59	8.77	5	KF, QF, NW, ISO 63

												GR = graphite reactor
												UT = UltraTorr
												ST = Swagelok tube (mod'd for elastomeric seal)

## groove, gland
	actual	undersizing for stretch
	gland	minimum	nominal	maximum
	diameter	-1%	-2%	-5%
nominal	1.969	1.949	1.929	1.870
min	1.950	1.931	1.911	1.853
max	2	1.962	1.942	1.883
avg	2	1.946	1.927	1.868

O-ring	min ID	max ID	ideal ID
	1.883	1.931	1.927

		O-Ring	Gland	Actual	%	Diametrical	Gland Width (L)			Groove
	AS 568A-	Cross Section	Depth (E)	Squeeze	Squeeze	Clearance	No Back-Up	One Back-Up	Two Back-Ups	Radius
	004 to 050	.070" +/-.003	.050 to .052	.015 to .023	22 to 32	.002 to .005	.093 to .098	.138 to .143	.205 to .210	.005 to .015
	102 to 178	.103" +/-.003	.081 to .083	.017 to .025	17 to 24	.002 to .005	.140 to .145	.171 to .176	.238 to .243	.005 to .015
	201 to 284	.139" +/-.004	.111 to .113	.022 to .032	16 to 23	.003 to .006	.187 to .192	.208 to .213	.275 to .280	.010 to .025
	309 to 395	.210" +/-.005	.170 to .173	.032 to .045	15 to 21	.003 to .006	.281 to .286	.311 to .316	.410 to .415	.020 to .035
	410 to 475	.275" +/-.006	.226 to .229	.040 to .055	15 to 20	.004 to .007	.375 to .380	.408 to .413	.538 to .543	.020 to .035